## Sheet1
Advanced Life Support Manikin: Male Adult (with Intubation and Defibrillation)
1 | DESCRIPTION
1.1 | Male adult manikin
2 | TECHNICAL SPECIFICATION
2.1 | Complete Advanced Life Support Manikin: Male Adult with the following:
2.1.1 | Battery
2.1.2 | IV pads
2.1.3 | arm skin with veins
2.1.4 | airway lubricant
2.1.5 | airway skin
2.1.6 | chest skin
2.1.7 | artificial blood
2.1.8 | talcum powder
2.2 | Anterior and posterior lung sounds
2.3 | CPR measurement capture and review
2.4 | Cyanosis linked to vital signs
2.5 | Completely wireless and self-contained:
2.5.1 | Internal electrical and pneumatic power
2.5.2 | Supplemental wired connectivity and power
2.5.3 | Wirelessly integrates with existing computer networks
2.5.4 | Possibility to attach an additional battery on the side to extend the use
2.5.5 | Rugged and reliable for use in multiple environments
2.6 | Multiple Airway Skills/Features:
2.6.1 | Controllable open/closed airway; automatically or manually controlled
2.6.2 | Head tilt/Chin lift
2.6.3 | Jaw thrust w/articulated jaw
2.6.4 | Suctioning (Oral & Nasopharyngeal)
2.6.5 | Bag-mask ventilation
2.6.6 | Orotracheal intubation
2.6.7 | Nasotracheal intubation
2.6.8 | Combitube, LMA, I-gel and other airway placement:
2.6.8.1 | Endotracheal tube intubation
2.6.8.2 | Retrograde intubation
2.6.8.3 | Fiberoptic intubation
2.6.8.4 | Transtracheal jet ventilation
2.6.9 | Needle cricothyrotomy
2.6.10 | Surgical cricothyrotomy
2.6.11 | Airway resistance - 3 settings (On/Off/Half)
2.6.12 | Right main stem intubation
2.6.13 | Stomach distention
2.6.14 | Airway Complications:
2.6.14.1 | Tongue fallback
2.6.14.2 | Tongue edema
2.7 | Breathing Features:
2.7.1 | Simulated spontaneous breathing
2.7.2 | Bilateral and unilateral chest rise and fall
2.7.3 | Normal and abnormal breath sounds
2.7.4 | Lung auscultation sites: posterior and anterior sites
2.7.5 | Oxygen saturation and waveform
2.7.6 | Breathing Complications:
2.7.6.1 | Cyanosis
2.7.6.2 | Needle thoracentesis – bi-lateral
2.7.6.3 | Unilateral & Bilateral chest movement
2.7.6.4 | Chest tube insertion – bilateral
2.8 | Cardiac Features:
2.8.1 | Extensive ECG library
2.8.2 | Heart sounds
2.8.3 | ECG rhythm monitoring (4 wire)
2.8.4 | 12 lead ECG display
2.8.5 | Defibrillation and cardioversion with live shock
2.8.6 | Pacing
2.9 | Circulation Features:
2.9.1 | BP measured manually by auscultation of Korotkoff sounds
2.9.2 | Carotid, femoral, radial pulses synchronized with ECG
2.9.3 | Pulse strength variable with BP
2.9.4 | Pulse Palpation is detected & logged
2.1 | Vascular Access:
2.10.1 | Bilateral IV access (optional)
2.10.2 | Intraosseous access (tibia)
2.11 | CPR:
2.11.1 | Compliant with 2010-2020 American Heart Association Guidelines and the Resuscitation Council of Southern Africa guidelines
2.11.2 | CPR compressions generate palpable pulses, blood pressure wave form, and ECG artefacts
2.11.3 | Realistic compression depth and resistance
2.11.4 | Detection of depth, release and frequency of compressions
2.12 | Eyes:
2.12.1 | Interchangeable pupils (normal, blown and constricted)
2.12.2 | Set of changeable pupils
2.12.3 | Automatically dilated pupils (optional)
2.13 | Optional Features:
2.13.1 | Foley catheterization without urine output
2.13.2 | Pre-prepared for use of the Ultrasound solution
2.13.3 | Patient Voice:
2.13.3.1 | Pre-recorded sounds
2.13.3.2 | Custom sounds
2.13.3.3 | Instructor can simulate patient’s voice wirelessly
2.14 | System Features:
2.14.1 | Wireless tablet PC controls simulator remotely
2.14.2 | Control simulations from anywhere on your network
2.14.3 | Manual Mode:
2.14.3.1 | Precise control “on the fly”
2.14.4 | Automatic Mode:
2.14.4.1 | Run pre-packaged scenarios
2.14.5 | Unique, simple controls increase/decrease difficulty & pace
2.14.6 | Integrated video debriefing
2.14.7 | Data logging
2.14.8 | Instructor comments
2.15 | Optional Patient Monitor Parameters:
2.15.1 | Wireless
2.15.2 | Included in the operating system:
2.15.2.1 | ECG (2 traces)
2.15.2.2 | SpO2
2.15.2.3 | CO2
2.15.2.4 | ABP
2.15.2.5 | CVP
2.15.2.6 | ICP
2.15.2.7 | Anesthetic Agent
2.15.2.8 | PH
2.15.2.9 | PTC
2.15.2.10 | PAP
2.15.2.11 | PCWP
2.15.2.12 | NIBP
2.15.2.13 | TOF
2.15.2.14 | Cardiac Output>
2.15.2.15 | Temperature (core & peripheral)
2.15.3 | Additional and programmable
2.16 | Parameters:
2.16.1 | 12 Lead ECG Display
2.17 | Must come with a product user guide
2.18 | Must come in a protective case
Advanced Life Support Manikin: Male Adult - Accessories and Consumables
1 | battery
2 | IV pads
3 | arm skin with veins
4 | airway lubricant
5 | airway skin
6 | chest skin
7 | artificial blood
8 | talcum powder