## Sheet1
Auscultation Trainer Torso
1 | DESCRIPTION
1.1 | The torso must simulate an adult patient.
2 | TECHNICAL SPECIFICATION
2.1 | The torso must be supplied with both the program and laptop to run the simulation model from. The software must be user friendly.
2.2 | The torso must be supplied with base support to prevent the torso from falling over easily. Must also include an operator’s manual.
2.3 | The torso auscultation software must include the following in English:
2.3.1 | Simulated case videos for classroom viewing.
2.3.2 | Auscultation library to choose from for heart, lung and bowel sounds. Sounds must be realistic.
2.3.3 | The torso must come with a stethoscope for auscultation purposes.
2.4 | Optional: If the torso is not available, must supply the oscillation system.
2.5 | The torso must be supplied with a durable case or carry bag.
2.6 | Various skin colours must be presented according to end user requirements.
2.7 | Must come with a product user guide
Auscultation Trainer Torso - Accessories and Consumables
1 | carry case
2 | adapter
3 | various skin colours