## Sheet1
Blood Pressure Training System
1 | DESCRIPTION
1.1 | A versatile training tool developed to assist health professionals teach the processes and skills required to perform blood pressure auscultation procedures and techniques.
2 | TECHNICAL SPECIFICATION
2.1 | Anatomy:
2.1.1 | Full-size adult arm
2.1.2 | Specify light, medium, and dark skin tone at no additional cost
2.2 | Controller:
2.2.1 | Controller must be compatible with BP arm supplied
2.2.2 | Program systolic/diastolic blood pressure, heart rate, and auscultation gap with just a tap of a button
2.2.3 | Tracks and displays cuff pressure clearly with graphic in real time
2.3 | Blood Pressure
2.3.1 | Auscultation:
2.3.1.1 | Must come with a stethoscope
2.3.1.2 | Must come with an adult BP cuff
2.3.1.3 | Auscultate Phase I – Phase V Korotkoff sounds between systolic and diastolic pressures using real stethoscope
2.3.1.4 | Programmable auscultation gap
2.3.1.5 | Korotkoff sounds are automatically silenced if auscultation gap is selected
2.3.1.6 | Korotkoff sounds are responsive to the heart rate and the rate of cuff deflation
2.3.1.7 | Programmable blood pressure auscultation tutor
2.3.1.8 | Palpation
2.3.1.9 | Programmable, palpable radial pulse synchronized with heart rate
2.3.1.10 | Automatic return of radial pulse when cuff pressure is less than the selected systolic blood pressure
2.4 | Optional External Speaker Set:
2.4.1 | Play Korotkoff sounds through volume-controlled speakers while auscultating with the stethoscope
2.4.2 | Incorporate collaborative learning by playing the Korotkoff sounds for numerous students simultaneously
2.4.3 | Must be between 220 - 240 volt
2.5 | Must come with a product user guide
2.6 | Must come in a protective case