## Sheet1
Probe
Description
An instrument for removing debris from nails corners
Technical Specifications
Non slippery handle, corrugated or equivalent design
Autoclavable
1. stainless steel, single ended, swan neck, spoon head, small, 10cm-12cm
2. stainless steel, single ended, swan neck, spoon head, medium, 12.5cm-14cm
3. stainless steel, single ended, swan neck, spoon head, large, 14.5cm-16cm
4. stainless steel, single ended, straight, flat, small, 10cm-12cm
5. stainless steel, single ended, straight, flat, medium, 12.5cm-14cm
6. stainless steel, single ended, straight, flat, large, 14.5cm-16cm
7. stainless steel, single ended, angled tip, flat, small, 10cm-12cm
8. stainless steel, single ended, angled tip, flat, medium, 12.5cm-14cm
9. stainless steel, single ended, angled tip, flat, large, 14.5cm-16cm
10.Stainless Steel ,Double headed ,with one head swarn neck and another spoon head, small, 10cm-12cm
11.Stainless Steel ,Double headed ,with one head swarn neck and another spoon head, medium, 12.5cm-14cm
12.Stainless Steel ,Double headed ,with one head swarn neck and another spoon head, large, 14.5cm-16cm
13.Stainless Steel ,Double headed ,swarn neck ,and straight neck flat, small, 10cm-12cm
14.Stainless Steel ,Double headed ,swarn neck ,and straight neck flat, medium, 12.5cm-14cm
15.Stainless Steel ,Double headed ,swarn neck ,and straight neck flat, large, 14.5cm-16cm
16. titanium, single ended, straight, flat, small, 10cm-12cm
17. titanium, single ended, straight, flat, medium, 12.5cm-14cm
18. titanium, single ended, straight, flat, large, 14.5cm-16cm
19. titanium, single ended, angled tip, flat, small, 10cm-12cm
20. titanium, single ended, angled tip, flat, medium, 12.5cm-14cm
21. titanium, single ended, angled tip, flat, large, 14.5cm-16cm
22. titanium, single ended, swan neck, spoon head, small, 10cm-12cm
23. titanium, single ended, swan neck, spoon head, medium, 12.5cm-14cm
24. titanium, single ended, swan neck, spoon head, large, 14.5cm-16cm
25. titanium, double headed ,with one head swarn neck and another spoon head, small, 10cm-12cm
26. titanium, double headed ,swarn neck ,and straight neck flat, medium, 12.5cm-14cm
27. titanium, double headed ,swarn neck ,and straight neck flat, large, 14.5cm-16cm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list